## Sheet1
CORE PLUG POROSITY AND DIMENSIONS
Core Porosity, Ø |  | % | (Assumed)
Core Diameter, D |  | cm
Core Length, L |  | cm | 0 | m
Pore Volume | 0 | cc
UPSTREAM AND DOWNSTREAM RESERVIOR VOLUMES
Upstream, Vus |  | cc | a | #DIV/0!
Downstream, Vds |  | cc | b | #DIV/0!
|  |  | f(a,b) | #DIV/0!
UPSTREAM AND DOWNSTREAM RESERVIOR PRESSURES
Pmean(final) |  | psia
ARGON VISCOSITY AND COMPRESSIBITITY
µ | 0.0229 | cP | 2.29e-05 | Pa.s
c | #DIV/0! | Psi-1 | #DIV/0! | Pa-1
PULSE-DECAY SLOPE
slope per min
s | 0 | s-1 | 0 | s-1 | slope per s
CALCULATED PERMEABILITY
k | #DIV/0! | m2
| #DIV/0! | d
| #DIV/0! | md
| #DIV/0! | ud
| #DIV/0! | nd
k : Sample permeability
c : Compressibility of argon gas = 1/avg. pore pressure
µ : Viscosity of argon gas
f : Porosity of the core plug = 2.5% (Barnett); 32% (Ceramic)
L : Length of the core plug
s : Semi-log slope of the pressure decay
a : Ratio of sample pore volume to volume of upstream reservoir = 0.31 (nano); 0.025 (micro); 0.29-0.38 (Ceramic)
b : Ratio of sample pore volume to volume of downstream reservoir = 0.27 (nano); 0.027 (micro); 0.39 (Ceramic)

## Sheet2
Gas Viscosity and Compressibility Data from the NIST Database
|  | Argon |  | Helium |  | Nitrogen
Temperature [C] | Absolute Pressure [psia] | Viscosity [cp] | Compressibility [psi^-1] | Viscosity [cp] | Compressibility [psi^-1] | Viscosity [cp] | Compressibility [psi^-1] | Compressibility [1/P]
30 | 188.5491 | 0.0232 | 0.0053434 | 0.020114 | 0.0052724 | 0.0182 | 0.005309 | 0.0053037
30 | 195.8009 | 0.0232 | 0.0051435 | 0.020115 | 0.0050759 | 0.0182 | 0.0051159 | 0.0051072
30 | 203.0528 | 0.0232 | 0.0049642 | 0.020117 | 0.0048932 | 0.0182 | 0.0049298 | 0.0049248
30 | 210.3047 | 0.0232 | 0.0047919 | 0.020119 | 0.0047236 | 0.0182 | 0.0047643 | 0.004755
30 | 217.5566 | 0.0232 | 0.0046333 | 0.020121 | 0.004565 | 0.0182 | 0.0046057 | 0.0045965
30 | 224.8085 | 0.0232 | 0.0044885 | 0.020122 | 0.0044168 | 0.0182 | 0.004454 | 0.0044482
30 | 232.0604 | 0.0232 | 0.0043437 | 0.020124 | 0.0042782 | 0.0182 | 0.0043161 | 0.0043092
30 | 239.3123 | 0.0232 | 0.0042127 | 0.020126 | 0.0041472 | 0.0183 | 0.0041851 | 0.0041786
30 | 246.5642 | 0.0232 | 0.0040955 | 0.020127 | 0.0040245 | 0.0183 | 0.004061 | 0.0040557
30 | 253.816 | 0.0232 | 0.0039783 | 0.020129 | 0.0039086 | 0.0183 | 0.0039438 | 0.0039399
30 | 261.0679 | 0.0233 | 0.003868 | 0.020131 | 0.003799 | 0.0183 | 0.0038335 | 0.0038304
30 | 268.3198 | 0.0233 | 0.0037645 | 0.020132 | 0.0036956 | 0.0183 | 0.0037301 | 0.0037269
30 | 275.5717 | 0.0233 | 0.003668 | 0.020134 | 0.0035977 | 0.0183 | 0.0036335 | 0.0036288
30 | 282.8236 | 0.0233 | 0.0035715 | 0.020136 | 0.0035046 | 0.0183 | 0.0035439 | 0.0035358
30 | 290.0755 | 0.0233 | 0.0034819 | 0.020137 | 0.0034164 | 0.0183 | 0.0034543 | 0.0034474
30 | 297.3274 | 0.0233 | 0.0033991 | 0.020139 | 0.0033322 | 0.0183 | 0.0033646 | 0.0033633
30 | 304.5792 | 0.0233 | 0.0033164 | 0.020141 | 0.0032523 | 0.0183 | 0.0032888 | 0.0032832
30 | 311.8311 | 0.0233 | 0.0032405 | 0.020143 | 0.0031757 | 0.0183 | 0.003213 | 0.0032069
30 | 319.083 | 0.0233 | 0.0031716 | 0.020144 | 0.0031026 | 0.0183 | 0.0031371 | 0.003134
30 | 326.3349 | 0.0233 | 0.0031026 | 0.020146 | 0.003033 | 0.0183 | 0.0030682 | 0.0030643
30 | 333.5868 | 0.0234 | 0.0030337 | 0.020147 | 0.0029668 | 0.0184 | 0.0029992 | 0.0029977
30 | 340.8387 | 0.0234 | 0.0029716 | 0.020149 | 0.0029027 | 0.0184 | 0.0029372 | 0.0029339
30 | 348.0906 | 0.0234 | 0.0029096 | 0.020151 | 0.0028413 | 0.0184 | 0.0028751 | 0.0028728
30 | 355.3425 | 0.0234 | 0.0028475 | 0.020153 | 0.0027827 | 0.0184 | 0.00282 | 0.0028142
30 | 362.5943 | 0.0234 | 0.0027924 | 0.020154 | 0.0027269 | 0.0184 | 0.0027579 | 0.0027579
30 | 369.8462 | 0.0234 | 0.0027372 | 0.020156 | 0.0026724 | 0.0184 | 0.0027096 | 0.0027038
30 | 377.0981 | 0.0234 | 0.002689 | 0.020158 | 0.0026207 | 0.0184 | 0.0026545 | 0.0026518
30 | 384.35 | 0.0234 | 0.0026338 | 0.020159 | 0.0025704 | 0.0184 | 0.0026062 | 0.0026018
30 | 391.6019 | 0.0234 | 0.0025855 | 0.020161 | 0.0025228 | 0.0184 | 0.002558 | 0.0025536
30 | 398.8538 | 0.0235 | 0.0025442 | 0.020163 | 0.0024759 | 0.0184 | 0.0025097 | 0.0025072
30 | 406.1057 | 0.0235 | 0.0024959 | 0.020164 | 0.0024311 | 0.0184 | 0.0024614 | 0.0024624
30 | 413.3576 | 0.0235 | 0.0024545 | 0.020166 | 0.0023883 | 0.0184 | 0.0024201 | 0.0024192
30 | 420.6094 | 0.0235 | 0.0024132 | 0.020168 | 0.0023463 | 0.0185 | 0.0023787 | 0.0023775
30 | 427.8613 | 0.0235 | 0.0023718 | 0.020169 | 0.0023063 | 0.0185 | 0.0023373 | 0.0023372
30 | 435.1132 | 0.0235 | 0.0023304 | 0.020171 | 0.002267 | 0.0185 | 0.0023028 | 0.0022983
30 | 442.3651 | 0.0235 | 0.0022946 | 0.020173 | 0.0022298 | 0.0185 | 0.0022622 | 0.0022606
30 | 449.617 | 0.0235 | 0.002258 | 0.020174 | 0.0021932 | 0.0185 | 0.0022256 | 0.0022241
30 | 456.8689 | 0.0236 | 0.0022229 | 0.020176 | 0.0021581 | 0.0185 | 0.0021898 | 0.0021888
30 | 464.1208 | 0.0236 | 0.0021884 | 0.020178 | 0.0021236 | 0.0185 | 0.0021553 | 0.0021546
30 | 471.3726 | 0.0236 | 0.0021553 | 0.020179 | 0.0020905 | 0.0185 | 0.0021222 | 0.0021215
30 | 478.6245 | 0.0236 | 0.0021229 | 0.020181 | 0.0020581 | 0.0185 | 0.0020898 | 0.0020893
30 | 485.8764 | 0.0236 | 0.0020919 | 0.020183 | 0.0020271 | 0.0185 | 0.0020588 | 0.0020581
30 | 493.1283 | 0.0236 | 0.0020615 | 0.020184 | 0.0019967 | 0.0185 | 0.0020284 | 0.0020279
30 | 500.3802 | 0.0236 | 0.0020319 | 0.020186 | 0.0019678 | 0.0186 | 0.0019988 | 0.0019985
30 | 507.6321 | 0.0236 | 0.0020029 | 0.020188 | 0.0019388 | 0.0186 | 0.0019698 | 0.0019699
30 | 514.884 | 0.0236 | 0.0019753 | 0.020189 | 0.0019112 | 0.0186 | 0.0019423 | 0.0019422
30 | 522.1359 | 0.0237 | 0.0019485 | 0.020191 | 0.0018843 | 0.0186 | 0.0019147 | 0.0019152
30 | 529.3877 | 0.0237 | 0.0019223 | 0.020192 | 0.0018581 | 0.0186 | 0.0018885 | 0.001889
30 | 536.6396 | 0.0237 | 0.0018961 | 0.020194 | 0.0018326 | 0.0186 | 0.001863 | 0.0018634
30 | 543.8915 | 0.0237 | 0.0018712 | 0.020196 | 0.0018078 | 0.0186 | 0.0018381 | 0.0018386
30 | 551.1434 | 0.0237 | 0.0018471 | 0.020198 | 0.0017837 | 0.0186 | 0.0018133 | 0.0018144
30 | 558.3953 | 0.0237 | 0.0018237 | 0.020199 | 0.0017595 | 0.0186 | 0.0017899 | 0.0017908
30 | 565.6472 | 0.0237 | 0.0018002 | 0.020201 | 0.0017368 | 0.0186 | 0.0017664 | 0.0017679
30 | 572.8991 | 0.0237 | 0.0017782 | 0.020202 | 0.0017147 | 0.0186 | 0.0017444 | 0.0017455
30 | 580.151 | 0.0238 | 0.0017561 | 0.020204 | 0.0016927 | 0.0187 | 0.0017223 | 0.0017237
30 | 587.4028 | 0.0238 | 0.0017347 | 0.020206 | 0.0016713 | 0.0187 | 0.0017009 | 0.0017024
30 | 594.6547 | 0.0238 | 0.0017133 | 0.020207 | 0.0016506 | 0.0187 | 0.0016796 | 0.0016816
30 | 601.9066 | 0.0238 | 0.0016934 | 0.020209 | 0.0016306 | 0.0187 | 0.0016596 | 0.0016614
30 | 609.1585 | 0.0238 | 0.0016734 | 0.020211 | 0.0016106 | 0.0187 | 0.0016396 | 0.0016416
30 | 616.4104 | 0.0238 | 0.0016541 | 0.020212 | 0.0015913 | 0.0187 | 0.0016196 | 0.0016223
30 | 623.6623 | 0.0238 | 0.0016347 | 0.020214 | 0.0015727 | 0.0187 | 0.001601 | 0.0016034
30 | 630.9142 | 0.0239 | 0.0016161 | 0.020216 | 0.0015541 | 0.0187 | 0.0015823 | 0.001585
30 | 638.166 | 0.0239 | 0.0015982 | 0.020217 | 0.0015362 | 0.0187 | 0.0015644 | 0.001567
30 | 645.4179 | 0.0239 | 0.001581 | 0.020219 | 0.0015182 | 0.0187 | 0.0015465 | 0.0015494
30 | 652.6698 | 0.0239 | 0.001563 | 0.020221 | 0.001501 | 0.0188 | 0.0015293 | 0.0015322
30 | 659.9217 | 0.0239 | 0.0015465 | 0.020222 | 0.0014844 | 0.0188 | 0.001512 | 0.0015153
30 | 667.1736 | 0.0239 | 0.0015299 | 0.020224 | 0.0014679 | 0.0188 | 0.0014955 | 0.0014989
30 | 674.4255 | 0.0239 | 0.0015134 | 0.020225 | 0.001452 | 0.0188 | 0.0014789 | 0.0014827
30 | 681.6774 | 0.0239 | 0.0014975 | 0.020227 | 0.0014362 | 0.0188 | 0.0014631 | 0.001467
30 | 688.9293 | 0.024 | 0.0014824 | 0.020229 | 0.001421 | 0.0188 | 0.0014472 | 0.0014515
30 | 696.1811 | 0.024 | 0.0014665 | 0.02023 | 0.0014058 | 0.0188 | 0.001432 | 0.0014364
30 | 703.433 | 0.024 | 0.001452 | 0.020232 | 0.0013907 | 0.0188 | 0.0014176 | 0.0014216
30 | 710.6849 | 0.024 | 0.0014376 | 0.020233 | 0.0013762 | 0.0188 | 0.0014024 | 0.0014071
30 | 717.9368 | 0.024 | 0.0014231 | 0.020235 | 0.0013624 | 0.0188 | 0.0013879 | 0.0013929
30 | 725.1887 | 0.024 | 0.0014086 | 0.020237 | 0.0013479 | 0.0189 | 0.0013741 | 0.001379
30 | 732.4406 | 0.024 | 0.0013948 | 0.020238 | 0.0013348 | 0.0189 | 0.0013603 | 0.0013653
30 | 739.6925 | 0.0241 | 0.0013817 | 0.02024 | 0.001321 | 0.0189 | 0.0013465 | 0.0013519
30 | 746.9444 | 0.0241 | 0.0013686 | 0.020242 | 0.0013079 | 0.0189 | 0.0013334 | 0.0013388
30 | 754.1962 | 0.0241 | 0.0013555 | 0.020243 | 0.0012948 | 0.0189 | 0.0013203 | 0.0013259
30 | 761.4481 | 0.0241 | 0.0013424 | 0.020245 | 0.0012824 | 0.0189 | 0.0013079 | 0.0013133
30 | 768.7 | 0.0241 | 0.00133 | 0.020247 | 0.00127 | 0.0189 | 0.0012948 | 0.0013009
30 | 775.9519 | 0.0241 | 0.0013176 | 0.020248 | 0.0012583 | 0.0189 | 0.0012831 | 0.0012887
30 | 783.2038 | 0.0241 | 0.0013059 | 0.02025 | 0.0012459 | 0.0189 | 0.0012707 | 0.0012768
30 | 790.4557 | 0.0242 | 0.0012941 | 0.020251 | 0.0012342 | 0.019 | 0.001259 | 0.0012651
30 | 797.7076 | 0.0242 | 0.0012824 | 0.020253 | 0.0012231 | 0.019 | 0.0012473 | 0.0012536
30 | 804.9594 | 0.0242 | 0.0012707 | 0.020255 | 0.0012114 | 0.019 | 0.0012355 | 0.0012423
30 | 812.2113 | 0.0242 | 0.0012597 | 0.020256 | 0.0012004 | 0.019 | 0.0012245 | 0.0012312
30 | 819.4632 | 0.0242 | 0.0012486 | 0.020258 | 0.0011893 | 0.019 | 0.0012135 | 0.0012203
30 | 826.7151 | 0.0242 | 0.0012376 | 0.020259 | 0.001179 | 0.019 | 0.0012024 | 0.0012096
30 | 833.967 | 0.0242 | 0.0012273 | 0.020261 | 0.0011687 | 0.019 | 0.0011921 | 0.0011991
30 | 841.2189 | 0.0243 | 0.0012169 | 0.020263 | 0.0011583 | 0.019 | 0.0011811 | 0.0011888
30 | 848.4708 | 0.0243 | 0.0012066 | 0.020264 | 0.001148 | 0.019 | 0.0011707 | 0.0011786
30 | 855.7227 | 0.0243 | 0.0011962 | 0.020266 | 0.0011376 | 0.019 | 0.0011611 | 0.0011686
30 | 862.9745 | 0.0243 | 0.0011866 | 0.020267 | 0.001128 | 0.0191 | 0.0011507 | 0.0011588
30 | 870.2264 | 0.0243 | 0.0011769 | 0.020269 | 0.0011183 | 0.0191 | 0.0011411 | 0.0011491
30 | 877.4783 | 0.0243 | 0.0011673 | 0.020271 | 0.0011087 | 0.0191 | 0.0011314 | 0.0011396
30 | 884.7302 | 0.0244 | 0.0011576 | 0.020272 | 0.0010997 | 0.0191 | 0.0011218 | 0.0011303
30 | 891.9821 | 0.0244 | 0.001148 | 0.020274 | 0.0010908 | 0.0191 | 0.0011128 | 0.0011211
30 | 899.234 | 0.0244 | 0.001139 | 0.020275 | 0.0010811 | 0.0191 | 0.0011032 | 0.0011121
30 | 906.4859 | 0.0244 | 0.0011301 | 0.020277 | 0.0010728 | 0.0191 | 0.0010942 | 0.0011032
30 | 913.7377 | 0.0244 | 0.0011211 | 0.020279 | 0.0010639 | 0.0191 | 0.0010852 | 0.0010944
30 | 920.9896 | 0.0244 | 0.0011121 | 0.02028 | 0.0010549 | 0.0192 | 0.001077 | 0.0010858
30 | 928.2415 | 0.0244 | 0.0011039 | 0.020282 | 0.0010466 | 0.0192 | 0.001068 | 0.0010773
30 | 935.4934 | 0.0245 | 0.0010956 | 0.020283 | 0.0010384 | 0.0192 | 0.0010597 | 0.001069
30 | 942.7453 | 0.0245 | 0.0010873 | 0.020285 | 0.0010301 | 0.0192 | 0.0010508 | 0.0010607
30 | 949.9972 | 0.0245 | 0.001079 | 0.020287 | 0.0010218 | 0.0192 | 0.0010425 | 0.0010526
30 | 957.2491 | 0.0245 | 0.0010708 | 0.020288 | 0.0010142 | 0.0192 | 0.0010349 | 0.0010447
30 | 964.501 | 0.0245 | 0.0010625 | 0.02029 | 0.0010059 | 0.0192 | 0.0010266 | 0.0010368
30 | 971.7528 | 0.0245 | 0.0010549 | 0.020292 | 0.00099836 | 0.0192 | 0.001019 | 0.0010291
30 | 979.0047 | 0.0246 | 0.0010473 | 0.020293 | 0.00099078 | 0.0192 | 0.0010108 | 0.0010214
30 | 986.2566 | 0.0246 | 0.0010397 | 0.020295 | 0.00098319 | 0.0193 | 0.0010032 | 0.0010139
30 | 993.5085 | 0.0246 | 0.0010321 | 0.020296 | 0.0009763 | 0.0193 | 0.0009956 | 0.0010065
30 | 1000.7604 | 0.0246 | 0.0010246 | 0.020298 | 0.00096871 | 0.0193 | 0.00098802 | 0.00099924
30 | 1008.0123 | 0.0246 | 0.001017 | 0.0203 | 0.00096182 | 0.0193 | 0.00098112 | 0.00099205
30 | 1015.2642 | 0.0246 | 0.0010101 | 0.020301 | 0.00095423 | 0.0193 | 0.00097354 | 0.00098497
30 | 1022.5161 | 0.0247 | 0.0010025 | 0.020303 | 0.00094734 | 0.0193 | 0.00096664 | 0.00097798
30 | 1029.7679 | 0.0247 | 0.0009956 | 0.020304 | 0.00094044 | 0.0193 | 0.00095975 | 0.00097109
30 | 1037.0198 | 0.0247 | 0.00098871 | 0.020306 | 0.00093355 | 0.0193 | 0.00095286 | 0.0009643
30 | 1044.2717 | 0.0247 | 0.00098181 | 0.020307 | 0.00092734 | 0.0193 | 0.00094596 | 0.00095761
30 | 1051.5236 | 0.0247 | 0.00097561 | 0.020309 | 0.00092045 | 0.0194 | 0.00093907 | 0.000951
30 | 1058.7755 | 0.0247 | 0.00096871 | 0.020311 | 0.00091424 | 0.0194 | 0.00093217 | 0.00094449
30 | 1066.0274 | 0.0248 | 0.00096182 | 0.020312 | 0.00090735 | 0.0194 | 0.00092597 | 0.00093806
30 | 1073.2793 | 0.0248 | 0.00095561 | 0.020314 | 0.00090114 | 0.0194 | 0.00091907 | 0.00093172
30 | 1080.5311 | 0.0248 | 0.00094941 | 0.020315 | 0.00089494 | 0.0194 | 0.00091287 | 0.00092547
30 | 1087.783 | 0.0248 | 0.0009432 | 0.020317 | 0.00088873 | 0.0194 | 0.00090666 | 0.0009193
30 | 1095.0349 | 0.0248 | 0.000937 | 0.020318 | 0.00088253 | 0.0194 | 0.00090046 | 0.00091321
30 | 1102.2868 | 0.0248 | 0.00093079 | 0.02032 | 0.00087701 | 0.0194 | 0.00089425 | 0.0009072
30 | 1109.5387 | 0.0249 | 0.00092459 | 0.020322 | 0.00087081 | 0.0195 | 0.00088804 | 0.00090128
30 | 1116.7906 | 0.0249 | 0.00091838 | 0.020323 | 0.00086529 | 0.0195 | 0.00088184 | 0.00089542
30 | 1124.0425 | 0.0249 | 0.00091287 | 0.020325 | 0.00085909 | 0.0195 | 0.00087563 | 0.00088965
30 | 1131.2944 | 0.0249 | 0.00090666 | 0.020326 | 0.00085357 | 0.0195 | 0.00087012 | 0.00088394
30 | 1138.5462 | 0.0249 | 0.00090114 | 0.020328 | 0.00084806 | 0.0195 | 0.0008646 | 0.00087831
30 | 1145.7981 | 0.0249 | 0.00089494 | 0.02033 | 0.00084254 | 0.0195 | 0.0008584 | 0.00087275
30 | 1153.05 | 0.025 | 0.00088942 | 0.020331 | 0.00083702 | 0.0195 | 0.00085288 | 0.00086727
30 | 1160.3019 | 0.025 | 0.00088391 | 0.020333 | 0.00083151 | 0.0195 | 0.00084737 | 0.00086184
30 | 1167.5538 | 0.025 | 0.00087839 | 0.020334 | 0.00082599 | 0.0196 | 0.00084185 | 0.00085649
30 | 1174.8057 | 0.025 | 0.00087288 | 0.020336 | 0.00082117 | 0.0196 | 0.00083633 | 0.0008512
30 | 1182.0576 | 0.025 | 0.00086805 | 0.020337 | 0.00081565 | 0.0196 | 0.00083082 | 0.00084598
30 | 1189.3095 | 0.0251 | 0.00086253 | 0.020339 | 0.00081082 | 0.0196 | 0.00082599 | 0.00084082
30 | 1196.5613 | 0.0251 | 0.00085702 | 0.020341 | 0.00080531 | 0.0196 | 0.00082048 | 0.00083573
30 | 1203.8132 | 0.0251 | 0.00085219 | 0.020342 | 0.00080048 | 0.0196 | 0.00081496 | 0.00083069
30 | 1211.0651 | 0.0251 | 0.00084668 | 0.020344 | 0.00079565 | 0.0196 | 0.00081013 | 0.00082572
30 | 1218.317 | 0.0251 | 0.00084185 | 0.020345 | 0.00079083 | 0.0196 | 0.00080531 | 0.0008208
30 | 1225.5689 | 0.0251 | 0.00083702 | 0.020347 | 0.000786 | 0.0197 | 0.00079979 | 0.00081595
30 | 1232.8208 | 0.0252 | 0.0008322 | 0.020348 | 0.00078118 | 0.0197 | 0.00079497 | 0.00081115
30 | 1240.0727 | 0.0252 | 0.00082737 | 0.02035 | 0.00077635 | 0.0197 | 0.00079014 | 0.0008064
30 | 1247.3245 | 0.0252 | 0.00082254 | 0.020352 | 0.00077152 | 0.0197 | 0.00078531 | 0.00080172
30 | 1254.5764 | 0.0252 | 0.00081772 | 0.020353 | 0.0007667 | 0.0197 | 0.00078049 | 0.00079708
30 | 1261.8283 | 0.0252 | 0.00081289 | 0.020355 | 0.00076256 | 0.0197 | 0.00077566 | 0.0007925
30 | 1269.0802 | 0.0253 | 0.00080807 | 0.020356 | 0.00075773 | 0.0197 | 0.00077083 | 0.00078797
30 | 1276.3321 | 0.0253 | 0.00080324 | 0.020358 | 0.0007536 | 0.0197 | 0.0007667 | 0.0007835
30 | 1283.584 | 0.0253 | 0.0007991 | 0.020359 | 0.00074877 | 0.0198 | 0.00076187 | 0.00077907
30 | 1290.8359 | 0.0253 | 0.00079428 | 0.020361 | 0.00074463 | 0.0198 | 0.00075704 | 0.00077469
30 | 1298.0878 | 0.0253 | 0.00079014 | 0.020362 | 0.00073981 | 0.0198 | 0.00075291 | 0.00077036
30 | 1305.3396 | 0.0253 | 0.00078531 | 0.020364 | 0.00073567 | 0.0198 | 0.00074808 | 0.00076608
30 | 1312.5915 | 0.0254 | 0.00078118 | 0.020366 | 0.00073153 | 0.0198 | 0.00074394 | 0.00076185
30 | 1319.8434 | 0.0254 | 0.00077704 | 0.020367 | 0.0007274 | 0.0198 | 0.00073981 | 0.00075767
30 | 1327.0953 | 0.0254 | 0.00077221 | 0.020369 | 0.00072326 | 0.0198 | 0.00073567 | 0.00075353
30 | 1334.3472 | 0.0254 | 0.00076808 | 0.02037 | 0.00071912 | 0.0199 | 0.00073084 | 0.00074943
30 | 1341.5991 | 0.0254 | 0.00076394 | 0.020372 | 0.00071499 | 0.0199 | 0.00072671 | 0.00074538
30 | 1348.851 | 0.0255 | 0.0007598 | 0.020373 | 0.00071154 | 0.0199 | 0.00072257 | 0.00074137
30 | 1356.1029 | 0.0255 | 0.00075567 | 0.020375 | 0.0007074 | 0.0199 | 0.00071843 | 0.00073741
30 | 1363.3547 | 0.0255 | 0.00075153 | 0.020376 | 0.00070327 | 0.0199 | 0.0007143 | 0.00073348
30 | 1370.6066 | 0.0255 | 0.00074739 | 0.020378 | 0.00069913 | 0.0199 | 0.00071016 | 0.0007296
30 | 1377.8585 | 0.0255 | 0.00074394 | 0.020379 | 0.00069568 | 0.0199 | 0.00070671 | 0.00072576
30 | 1385.1104 | 0.0256 | 0.00073981 | 0.020381 | 0.00069154 | 0.0199 | 0.00070258 | 0.00072196
30 | 1392.3623 | 0.0256 | 0.00073567 | 0.020383 | 0.0006881 | 0.02 | 0.00069844 | 0.0007182
30 | 1399.6142 | 0.0256 | 0.00073222 | 0.020384 | 0.00068465 | 0.02 | 0.00069499 | 0.00071448
30 | 1406.8661 | 0.0256 | 0.00072809 | 0.020386 | 0.00068051 | 0.02 | 0.00069085 | 0.0007108
30 | 1414.1179 | 0.0256 | 0.00072464 | 0.020387 | 0.00067707 | 0.02 | 0.00068741 | 0.00070715
30 | 1421.3698 | 0.0257 | 0.0007205 | 0.020389 | 0.00067362 | 0.02 | 0.00068327 | 0.00070355
30 | 1428.6217 | 0.0257 | 0.00071705 | 0.02039 | 0.00067017 | 0.02 | 0.00067982 | 0.00069998
30 | 1435.8736 | 0.0257 | 0.00071292 | 0.020392 | 0.00066603 | 0.02 | 0.00067569 | 0.00069644
30 | 1443.1255 | 0.0257 | 0.00070947 | 0.020393 | 0.00066259 | 0.0201 | 0.00067224 | 0.00069294
30 | 1450.3774 | 0.0257 | 0.00070602 | 0.020395 | 0.00065914 | 0.0201 | 0.00066879 | 0.00068948
30 | 1457.6293 | 0.0257 | 0.00070258 | 0.020396 | 0.00065569 | 0.0201 | 0.00066534 | 0.00068605
30 | 1464.8812 | 0.0258 | 0.00069844 | 0.020398 | 0.00065293 | 0.0201 | 0.00066121 | 0.00068265
30 | 1472.133 | 0.0258 | 0.00069499 | 0.0204 | 0.00064949 | 0.0201 | 0.00065776 | 0.00067929
30 | 1479.3849 | 0.0258 | 0.00069154 | 0.020401 | 0.00064604 | 0.0201 | 0.00065431 | 0.00067596
30 | 1486.6368 | 0.0258 | 0.0006881 | 0.020403 | 0.00064259 | 0.0201 | 0.00065087 | 0.00067266
30 | 1493.8887 | 0.0258 | 0.00068465 | 0.020404 | 0.00063914 | 0.0202 | 0.00064742 | 0.00066939
30 | 1501.1406 | 0.0259 | 0.0006812 | 0.020406 | 0.00063639 | 0.0202 | 0.00064397 | 0.00066616
30 | 1508.3925 | 0.0259 | 0.00067844 | 0.020407 | 0.00063294 | 0.0202 | 0.00064121 | 0.00066296
30 | 1515.6444 | 0.0259 | 0.000675 | 0.020409 | 0.00062949 | 0.0202 | 0.00063777 | 0.00065979
30 | 1522.8962 | 0.0259 | 0.00067155 | 0.02041 | 0.00062673 | 0.0202 | 0.00063432 | 0.00065664
30 | 1530.1481 | 0.0259 | 0.0006681 | 0.020412 | 0.00062329 | 0.0202 | 0.00063087 | 0.00065353
30 | 1537.4 | 0.026 | 0.00066534 | 0.020413 | 0.00062053 | 0.0202 | 0.00062811 | 0.00065045
30 | 1544.6519 | 0.026 | 0.0006619 | 0.020415 | 0.00061777 | 0.0203 | 0.00062467 | 0.0006474
30 | 1551.9038 | 0.026 | 0.00065845 | 0.020416 | 0.00061432 | 0.0203 | 0.00062122 | 0.00064437
30 | 1559.1557 | 0.026 | 0.00065569 | 0.020418 | 0.00061156 | 0.0203 | 0.00061846 | 0.00064137
30 | 1566.4076 | 0.0261 | 0.00065224 | 0.020419 | 0.00060881 | 0.0203 | 0.00061501 | 0.0006384
30 | 1573.6595 | 0.0261 | 0.00064949 | 0.020421 | 0.00060536 | 0.0203 | 0.00061225 | 0.00063546
30 | 1580.9113 | 0.0261 | 0.00064604 | 0.020422 | 0.0006026 | 0.0203 | 0.00060881 | 0.00063255
30 | 1588.1632 | 0.0261 | 0.00064328 | 0.020424 | 0.00059984 | 0.0203 | 0.00060605 | 0.00062966
30 | 1595.4151 | 0.0261 | 0.00063983 | 0.020425 | 0.00059709 | 0.0203 | 0.0006026 | 0.0006268
30 | 1602.667 | 0.0262 | 0.00063708 | 0.020427 | 0.00059433 | 0.0204 | 0.00059984 | 0.00062396
30 | 1609.9189 | 0.0262 | 0.00063432 | 0.020429 | 0.00059157 | 0.0204 | 0.00059709 | 0.00062115
30 | 1617.1708 | 0.0262 | 0.00063156 | 0.02043 | 0.00058881 | 0.0204 | 0.00059433 | 0.00061836
30 | 1624.4227 | 0.0262 | 0.00062811 | 0.020432 | 0.00058605 | 0.0204 | 0.00059088 | 0.0006156
30 | 1631.6746 | 0.0262 | 0.00062535 | 0.020433 | 0.0005833 | 0.0204 | 0.00058812 | 0.00061287
30 | 1638.9264 | 0.0263 | 0.0006226 | 0.020435 | 0.00058054 | 0.0204 | 0.00058536 | 0.00061016
30 | 1646.1783 | 0.0263 | 0.00061984 | 0.020436 | 0.00057778 | 0.0205 | 0.00058261 | 0.00060747
30 | 1653.4302 | 0.0263 | 0.00061708 | 0.020438 | 0.00057502 | 0.0205 | 0.00057985 | 0.0006048
30 | 1660.6821 | 0.0263 | 0.00061432 | 0.020439 | 0.00057226 | 0.0205 | 0.00057709 | 0.00060216
30 | 1667.934 | 0.0263 | 0.00061156 | 0.020441 | 0.00056951 | 0.0205 | 0.00057433 | 0.00059954
30 | 1675.1859 | 0.0264 | 0.00060881 | 0.020442 | 0.00056744 | 0.0205 | 0.00057158 | 0.00059695
30 | 1682.4378 | 0.0264 | 0.00060605 | 0.020444 | 0.00056468 | 0.0205 | 0.00056882 | 0.00059438
30 | 1689.6896 | 0.0264 | 0.00060329 | 0.020445 | 0.00056192 | 0.0205 | 0.00056606 | 0.00059182
30 | 1696.9415 | 0.0264 | 0.00060053 | 0.020447 | 0.00055916 | 0.0206 | 0.0005633 | 0.0005893
30 | 1704.1934 | 0.0264 | 0.00059778 | 0.020448 | 0.0005571 | 0.0206 | 0.00056054 | 0.00058679
30 | 1711.4453 | 0.0265 | 0.00059502 | 0.02045 | 0.00055434 | 0.0206 | 0.00055779 | 0.0005843
30 | 1718.6972 | 0.0265 | 0.00059226 | 0.020451 | 0.00055227 | 0.0206 | 0.00055572 | 0.00058184
30 | 1725.9491 | 0.0265 | 0.00059019 | 0.020453 | 0.00054951 | 0.0206 | 0.00055296 | 0.00057939
30 | 1733.201 | 0.0265 | 0.00058743 | 0.020454 | 0.00054744 | 0.0206 | 0.0005502 | 0.00057697
30 | 1740.4529 | 0.0266 | 0.00058468 | 0.020456 | 0.00054469 | 0.0206 | 0.00054744 | 0.00057456
30 | 1747.7047 | 0.0266 | 0.00058192 | 0.020457 | 0.00054262 | 0.0207 | 0.00054538 | 0.00057218
30 | 1754.9566 | 0.0266 | 0.00057985 | 0.020459 | 0.00053986 | 0.0207 | 0.00054262 | 0.00056981
30 | 1762.2085 | 0.0266 | 0.00057709 | 0.02046 | 0.00053779 | 0.0207 | 0.00053986 | 0.00056747
30 | 1769.4604 | 0.0266 | 0.00057502 | 0.020462 | 0.00053572 | 0.0207 | 0.00053779 | 0.00056514
30 | 1776.7123 | 0.0267 | 0.00057226 | 0.020463 | 0.00053296 | 0.0207 | 0.00053503 | 0.00056284
30 | 1783.9642 | 0.0267 | 0.00056951 | 0.020465 | 0.0005309 | 0.0207 | 0.00053296 | 0.00056055
30 | 1791.2161 | 0.0267 | 0.00056744 | 0.020466 | 0.00052883 | 0.0207 | 0.00053021 | 0.00055828
30 | 1798.468 | 0.0267 | 0.00056468 | 0.020468 | 0.00052607 | 0.0208 | 0.00052814 | 0.00055603
30 | 1805.7198 | 0.0268 | 0.00056261 | 0.020469 | 0.000524 | 0.0208 | 0.00052538 | 0.0005538
30 | 1812.9717 | 0.0268 | 0.00055985 | 0.020471 | 0.00052193 | 0.0208 | 0.00052331 | 0.00055158
30 | 1820.2236 | 0.0268 | 0.00055779 | 0.020472 | 0.00051986 | 0.0208 | 0.00052124 | 0.00054938
30 | 1827.4755 | 0.0268 | 0.00055572 | 0.020474 | 0.0005178 | 0.0208 | 0.00051849 | 0.0005472
30 | 1834.7274 | 0.0268 | 0.00055296 | 0.020475 | 0.00051573 | 0.0208 | 0.00051642 | 0.00054504
30 | 1841.9793 | 0.0269 | 0.00055089 | 0.020477 | 0.00051297 | 0.0208 | 0.00051366 | 0.00054289
30 | 1849.2312 | 0.0269 | 0.00054882 | 0.020478 | 0.0005109 | 0.0209 | 0.00051159 | 0.00054077
30 | 1856.483 | 0.0269 | 0.00054606 | 0.02048 | 0.00050883 | 0.0209 | 0.00050952 | 0.00053865
30 | 1863.7349 | 0.0269 | 0.000544 | 0.020481 | 0.00050676 | 0.0209 | 0.00050745 | 0.00053656
30 | 1870.9868 | 0.027 | 0.00054193 | 0.020483 | 0.0005047 | 0.0209 | 0.0005047 | 0.00053448
30 | 1878.2387 | 0.027 | 0.00053986 | 0.020484 | 0.00050263 | 0.0209 | 0.00050263 | 0.00053241
30 | 1885.4906 | 0.027 | 0.0005371 | 0.020486 | 0.00050056 | 0.0209 | 0.00050056 | 0.00053037
30 | 1892.7425 | 0.027 | 0.00053503 | 0.020487 | 0.00049849 | 0.021 | 0.00049849 | 0.00052833
30 | 1899.9944 | 0.027 | 0.00053296 | 0.020489 | 0.00049642 | 0.021 | 0.00049642 | 0.00052632
30 | 1907.2463 | 0.0271 | 0.0005309 | 0.02049 | 0.00049504 | 0.021 | 0.00049435 | 0.00052432
30 | 1914.4981 | 0.0271 | 0.00052883 | 0.020492 | 0.00049298 | 0.021 | 0.00049229 | 0.00052233
30 | 1921.75 | 0.0271 | 0.00052676 | 0.020493 | 0.00049091 | 0.021 | 0.00049022 | 0.00052036
30 | 1929.0019 | 0.0271 | 0.00052469 | 0.020495 | 0.00048884 | 0.021 | 0.00048746 | 0.0005184
30 | 1936.2538 | 0.0272 | 0.00052262 | 0.020496 | 0.00048677 | 0.021 | 0.00048539 | 0.00051646
30 | 1943.5057 | 0.0272 | 0.00051986 | 0.020498 | 0.0004847 | 0.0211 | 0.00048332 | 0.00051453
30 | 1950.7576 | 0.0272 | 0.0005178 | 0.020499 | 0.00048332 | 0.0211 | 0.00048194 | 0.00051262
30 | 1958.0095 | 0.0272 | 0.00051573 | 0.0205 | 0.00048125 | 0.0211 | 0.00047988 | 0.00051072
30 | 1965.2613 | 0.0272 | 0.00051435 | 0.020502 | 0.00047919 | 0.0211 | 0.00047781 | 0.00050884
30 | 1972.5132 | 0.0273 | 0.00051228 | 0.020503 | 0.00047781 | 0.0211 | 0.00047574 | 0.00050697
30 | 1979.7651 | 0.0273 | 0.00051021 | 0.020505 | 0.00047574 | 0.0211 | 0.00047367 | 0.00050511
30 | 1987.017 | 0.0273 | 0.00050814 | 0.020506 | 0.00047367 | 0.0212 | 0.0004716 | 0.00050327
30 | 1994.2689 | 0.0273 | 0.00050608 | 0.020508 | 0.00047229 | 0.0212 | 0.00046953 | 0.00050144
30 | 2001.5208 | 0.0274 | 0.00050401 | 0.020509 | 0.00047022 | 0.0212 | 0.00046746 | 0.00049962
30 | 2008.7727 | 0.0274 | 0.00050194 | 0.020511 | 0.00046815 | 0.0212 | 0.0004654 | 0.00049782
30 | 2016.0246 | 0.0274 | 0.00049987 | 0.020512 | 0.00046678 | 0.0212 | 0.00046402 | 0.00049603
30 | 2023.2764 | 0.0274 | 0.0004978 | 0.020514 | 0.00046471 | 0.0212 | 0.00046195 | 0.00049425
30 | 2030.5283 | 0.0275 | 0.00049642 | 0.020515 | 0.00046333 | 0.0212 | 0.00045988 | 0.00049248
30 | 2037.7802 | 0.0275 | 0.00049435 | 0.020517 | 0.00046126 | 0.0213 | 0.00045781 | 0.00049073
30 | 2045.0321 | 0.0275 | 0.00049229 | 0.020518 | 0.00045988 | 0.0213 | 0.00045643 | 0.00048899
30 | 2052.284 | 0.0275 | 0.00049022 | 0.02052 | 0.00045781 | 0.0213 | 0.00045436 | 0.00048726
30 | 2059.5359 | 0.0275 | 0.00048884 | 0.020521 | 0.00045643 | 0.0213 | 0.0004523 | 0.00048555
30 | 2066.7878 | 0.0276 | 0.00048677 | 0.020523 | 0.00045436 | 0.0213 | 0.00045092 | 0.00048384
30 | 2074.0397 | 0.0276 | 0.0004847 | 0.020524 | 0.00045299 | 0.0213 | 0.00044885 | 0.00048215
30 | 2081.2915 | 0.0276 | 0.00048332 | 0.020526 | 0.00045092 | 0.0214 | 0.00044678 | 0.00048047
30 | 2088.5434 | 0.0276 | 0.00048125 | 0.020527 | 0.00044954 | 0.0214 | 0.0004454 | 0.0004788
30 | 2095.7953 | 0.0277 | 0.00047919 | 0.020528 | 0.00044747 | 0.0214 | 0.00044333 | 0.00047715
30 | 2103.0472 | 0.0277 | 0.00047781 | 0.02053 | 0.00044609 | 0.0214 | 0.00044195 | 0.0004755
30 | 2110.2991 | 0.0277 | 0.00047574 | 0.020531 | 0.00044471 | 0.0214 | 0.00043989 | 0.00047387
30 | 2117.551 | 0.0277 | 0.00047367 | 0.020533 | 0.00044264 | 0.0214 | 0.00043782 | 0.00047224
30 | 2124.8029 | 0.0278 | 0.00047229 | 0.020534 | 0.00044126 | 0.0215 | 0.00043644 | 0.00047063
30 | 2132.0547 | 0.0278 | 0.00047022 | 0.020536 | 0.00043989 | 0.0215 | 0.00043437 | 0.00046903
30 | 2139.3066 | 0.0278 | 0.00046884 | 0.020537 | 0.00043782 | 0.0215 | 0.00043299 | 0.00046744
30 | 2146.5585 | 0.0278 | 0.00046678 | 0.020539 | 0.00043644 | 0.0215 | 0.00043092 | 0.00046586
30 | 2153.8104 | 0.0278 | 0.0004654 | 0.02054 | 0.00043506 | 0.0215 | 0.00042954 | 0.00046429
30 | 2161.0623 | 0.0279 | 0.00046333 | 0.020542 | 0.00043368 | 0.0215 | 0.00042816 | 0.00046274
30 | 2168.3142 | 0.0279 | 0.00046195 | 0.020543 | 0.00043161 | 0.0215 | 0.0004261 | 0.00046119
30 | 2175.5661 | 0.0279 | 0.00045988 | 0.020545 | 0.00043023 | 0.0216 | 0.00042472 | 0.00045965
30 | 2182.818 | 0.0279 | 0.0004585 | 0.020546 | 0.00042885 | 0.0216 | 0.00042265 | 0.00045812
30 | 2190.0698 | 0.028 | 0.00045643 | 0.020547 | 0.00042747 | 0.0216 | 0.00042127 | 0.00045661
30 | 2197.3217 | 0.028 | 0.00045505 | 0.020549 | 0.0004261 | 0.0216 | 0.0004192 | 0.0004551
30 | 2204.5736 | 0.028 | 0.00045368 | 0.02055 | 0.00042403 | 0.0216 | 0.00041782 | 0.0004536
30 | 2211.8255 | 0.028 | 0.00045161 | 0.020552 | 0.00042265 | 0.0216 | 0.00041644 | 0.00045212
30 | 2219.0774 | 0.0281 | 0.00045023 | 0.020553 | 0.00042127 | 0.0217 | 0.00041437 | 0.00045064
30 | 2226.3293 | 0.0281 | 0.00044816 | 0.020555 | 0.00041989 | 0.0217 | 0.000413 | 0.00044917
30 | 2233.5812 | 0.0281 | 0.00044678 | 0.020556 | 0.00041851 | 0.0217 | 0.00041162 | 0.00044771
30 | 2240.8331 | 0.0281 | 0.0004454 | 0.020558 | 0.00041713 | 0.0217 | 0.00041024 | 0.00044626
30 | 2248.0849 | 0.0282 | 0.00044333 | 0.020559 | 0.00041575 | 0.0217 | 0.00040817 | 0.00044482
30 | 2255.3368 | 0.0282 | 0.00044195 | 0.020561 | 0.00041437 | 0.0217 | 0.00040679 | 0.00044339
30 | 2262.5887 | 0.0282 | 0.00044057 | 0.020562 | 0.000413 | 0.0218 | 0.00040541 | 0.00044197
30 | 2269.8406 | 0.0282 | 0.00043851 | 0.020563 | 0.00041162 | 0.0218 | 0.00040403 | 0.00044056
30 | 2277.0925 | 0.0283 | 0.00043713 | 0.020565 | 0.00041024 | 0.0218 | 0.00040196 | 0.00043916
30 | 2284.3444 | 0.0283 | 0.00043575 | 0.020566 | 0.00040886 | 0.0218 | 0.00040059 | 0.00043776
30 | 2291.5963 | 0.0283 | 0.00043437 | 0.020568 | 0.00040748 | 0.0218 | 0.00039921 | 0.00043638
30 | 2298.8481 | 0.0283 | 0.0004323 | 0.020569 | 0.0004061 | 0.0218 | 0.00039783 | 0.000435
30 | 2306.1 | 0.0284 | 0.00043092 | 0.020571 | 0.00040472 | 0.0219 | 0.00039645 | 0.00043363
30 | 2313.3519 | 0.0284 | 0.00042954 | 0.020572 | 0.00040334 | 0.0219 | 0.00039438 | 0.00043227
30 | 2320.6038 | 0.0284 | 0.00042816 | 0.020574 | 0.00040196 | 0.0219 | 0.000393 | 0.00043092
30 | 2327.8557 | 0.0284 | 0.00042679 | 0.020575 | 0.00040059 | 0.0219 | 0.00039162 | 0.00042958
30 | 2335.1076 | 0.0285 | 0.00042472 | 0.020576 | 0.00039921 | 0.0219 | 0.00039024 | 0.00042825
30 | 2342.3595 | 0.0285 | 0.00042334 | 0.020578 | 0.00039783 | 0.0219 | 0.00038886 | 0.00042692
30 | 2349.6114 | 0.0285 | 0.00042196 | 0.020579 | 0.00039645 | 0.022 | 0.00038749 | 0.0004256
30 | 2356.8632 | 0.0285 | 0.00042058 | 0.020581 | 0.00039507 | 0.022 | 0.00038611 | 0.00042429
30 | 2364.1151 | 0.0285 | 0.0004192 | 0.020582 | 0.00039369 | 0.022 | 0.00038473 | 0.00042299
30 | 2371.367 | 0.0286 | 0.00041782 | 0.020584 | 0.00039231 | 0.022 | 0.00038335 | 0.0004217
30 | 2378.6189 | 0.0286 | 0.00041644 | 0.020585 | 0.00039162 | 0.022 | 0.00038197 | 0.00042041
30 | 2385.8708 | 0.0286 | 0.00041506 | 0.020587 | 0.00039024 | 0.022 | 0.00038059 | 0.00041913
30 | 2393.1227 | 0.0286 | 0.000413 | 0.020588 | 0.00038886 | 0.0221 | 0.00037921 | 0.00041786
30 | 2400.3746 | 0.0287 | 0.00041162 | 0.020589 | 0.00038749 | 0.0221 | 0.00037783 | 0.0004166
30 | 2407.6265 | 0.0287 | 0.00041024 | 0.020591 | 0.00038611 | 0.0221 | 0.00037645 | 0.00041535
30 | 2414.8783 | 0.0287 | 0.00040886 | 0.020592 | 0.00038473 | 0.0221 | 0.00037507 | 0.0004141
30 | 2422.1302 | 0.0287 | 0.00040748 | 0.020594 | 0.00038404 | 0.0221 | 0.0003737 | 0.00041286
30 | 2429.3821 | 0.0288 | 0.0004061 | 0.020595 | 0.00038266 | 0.0221 | 0.00037232 | 0.00041163
30 | 2436.634 | 0.0288 | 0.00040472 | 0.020597 | 0.00038128 | 0.0221 | 0.00037094 | 0.0004104
30 | 2443.8859 | 0.0288 | 0.00040334 | 0.020598 | 0.0003799 | 0.0222 | 0.00036956 | 0.00040918
30 | 2451.1378 | 0.0288 | 0.00040196 | 0.020599 | 0.00037921 | 0.0222 | 0.00036818 | 0.00040797
30 | 2458.3897 | 0.0289 | 0.00040059 | 0.020601 | 0.00037783 | 0.0222 | 0.0003668 | 0.00040677
30 | 2465.6415 | 0.0289 | 0.00039921 | 0.020602 | 0.00037645 | 0.0222 | 0.00036542 | 0.00040557
30 | 2472.8934 | 0.0289 | 0.00039783 | 0.020604 | 0.00037507 | 0.0222 | 0.00036404 | 0.00040438
30 | 2480.1453 | 0.0289 | 0.00039645 | 0.020605 | 0.00037439 | 0.0222 | 0.00036266 | 0.0004032
30 | 2487.3972 | 0.029 | 0.00039507 | 0.020607 | 0.00037301 | 0.0223 | 0.00036129 | 0.00040203
30 | 2494.6491 | 0.029 | 0.00039369 | 0.020608 | 0.00037163 | 0.0223 | 0.0003606 | 0.00040086
30 | 2501.901 | 0.029 | 0.000393 | 0.020609 | 0.00037094 | 0.0223 | 0.00035922 | 0.0003997
30 | 2509.1529 | 0.029 | 0.00039162 | 0.020611 | 0.00036956 | 0.0223 | 0.00035784 | 0.00039854
30 | 2516.4048 | 0.0291 | 0.00039024 | 0.020612 | 0.00036818 | 0.0223 | 0.00035646 | 0.00039739
30 | 2523.6566 | 0.0291 | 0.00038886 | 0.020614 | 0.00036749 | 0.0223 | 0.00035508 | 0.00039625
30 | 2530.9085 | 0.0291 | 0.00038749 | 0.020615 | 0.00036611 | 0.0224 | 0.0003537 | 0.00039512
30 | 2538.1604 | 0.0291 | 0.00038611 | 0.020617 | 0.00036542 | 0.0224 | 0.00035301 | 0.00039399
30 | 2545.4123 | 0.0292 | 0.00038473 | 0.020618 | 0.00036404 | 0.0224 | 0.00035163 | 0.00039286
30 | 2552.6642 | 0.0292 | 0.00038335 | 0.020619 | 0.00036266 | 0.0224 | 0.00035025 | 0.00039175
30 | 2559.9161 | 0.0292 | 0.00038266 | 0.020621 | 0.00036197 | 0.0224 | 0.00034887 | 0.00039064
30 | 2567.168 | 0.0292 | 0.00038128 | 0.020622 | 0.0003606 | 0.0224 | 0.00034819 | 0.00038953
30 | 2574.4198 | 0.0293 | 0.0003799 | 0.020624 | 0.00035991 | 0.0225 | 0.00034681 | 0.00038844
30 | 2581.6717 | 0.0293 | 0.00037852 | 0.020625 | 0.00035853 | 0.0225 | 0.00034543 | 0.00038735
30 | 2588.9236 | 0.0293 | 0.00037714 | 0.020626 | 0.00035715 | 0.0225 | 0.00034405 | 0.00038626
30 | 2596.1755 | 0.0293 | 0.00037576 | 0.020628 | 0.00035646 | 0.0225 | 0.00034336 | 0.00038518
30 | 2603.4274 | 0.0294 | 0.00037507 | 0.020629 | 0.00035508 | 0.0225 | 0.00034198 | 0.00038411
30 | 2610.6793 | 0.0294 | 0.0003737 | 0.020631 | 0.00035439 | 0.0225 | 0.0003406 | 0.00038304
30 | 2617.9312 | 0.0294 | 0.00037232 | 0.020632 | 0.00035301 | 0.0226 | 0.00033991 | 0.00038198
30 | 2625.1831 | 0.0294 | 0.00037094 | 0.020634 | 0.00035232 | 0.0226 | 0.00033853 | 0.00038093
30 | 2632.4349 | 0.0295 | 0.00037025 | 0.020635 | 0.00035094 | 0.0226 | 0.00033715 | 0.00037988
30 | 2639.6868 | 0.0295 | 0.00036887 | 0.020636 | 0.00035025 | 0.0226 | 0.00033577 | 0.00037883
30 | 2646.9387 | 0.0295 | 0.00036749 | 0.020638 | 0.00034887 | 0.0226 | 0.00033509 | 0.00037779
30 | 2654.1906 | 0.0296 | 0.00036611 | 0.020639 | 0.00034819 | 0.0227 | 0.00033371 | 0.00037676
30 | 2661.4425 | 0.0296 | 0.00036542 | 0.020641 | 0.00034681 | 0.0227 | 0.00033302 | 0.00037574
30 | 2668.6944 | 0.0296 | 0.00036404 | 0.020642 | 0.00034612 | 0.0227 | 0.00033164 | 0.00037472
30 | 2675.9463 | 0.0296 | 0.00036266 | 0.020643 | 0.00034474 | 0.0227 | 0.00033026 | 0.0003737
30 | 2683.1982 | 0.0297 | 0.00036197 | 0.020645 | 0.00034405 | 0.0227 | 0.00032957 | 0.00037269
30 | 2690.45 | 0.0297 | 0.0003606 | 0.020646 | 0.00034267 | 0.0227 | 0.00032819 | 0.00037169
30 | 2697.7019 | 0.0297 | 0.00035922 | 0.020648 | 0.00034198 | 0.0228 | 0.00032681 | 0.00037069
30 | 2704.9538 | 0.0297 | 0.00035784 | 0.020649 | 0.00034129 | 0.0228 | 0.00032612 | 0.00036969
30 | 2712.2057 | 0.0298 | 0.00035715 | 0.02065 | 0.00033991 | 0.0228 | 0.00032474 | 0.0003687
30 | 2719.4576 | 0.0298 | 0.00035577 | 0.020652 | 0.00033922 | 0.0228 | 0.00032405 | 0.00036772
30 | 2726.7095 | 0.0298 | 0.00035439 | 0.020653 | 0.00033784 | 0.0228 | 0.00032267 | 0.00036674
30 | 2733.9614 | 0.0298 | 0.0003537 | 0.020655 | 0.00033715 | 0.0228 | 0.00032199 | 0.00036577
30 | 2741.2132 | 0.0299 | 0.00035232 | 0.020656 | 0.00033577 | 0.0229 | 0.00032061 | 0.0003648
30 | 2748.4651 | 0.0299 | 0.00035163 | 0.020657 | 0.00033509 | 0.0229 | 0.00031923 | 0.00036384
30 | 2755.717 | 0.0299 | 0.00035025 | 0.020659 | 0.0003344 | 0.0229 | 0.00031854 | 0.00036288
30 | 2762.9689 | 0.0299 | 0.00034887 | 0.02066 | 0.00033302 | 0.0229 | 0.00031716 | 0.00036193
30 | 2770.2208 | 0.03 | 0.00034819 | 0.020662 | 0.00033233 | 0.0229 | 0.00031647 | 0.00036098
30 | 2777.4727 | 0.03 | 0.00034681 | 0.020663 | 0.00033164 | 0.0229 | 0.00031509 | 0.00036004
30 | 2784.7246 | 0.03 | 0.00034612 | 0.020664 | 0.00033026 | 0.023 | 0.0003144 | 0.0003591
30 | 2791.9765 | 0.03 | 0.00034474 | 0.020666 | 0.00032957 | 0.023 | 0.00031302 | 0.00035817
30 | 2799.2283 | 0.0301 | 0.00034336 | 0.020667 | 0.00032888 | 0.023 | 0.00031233 | 0.00035724
30 | 2806.4802 | 0.0301 | 0.00034267 | 0.020669 | 0.0003275 | 0.023 | 0.00031095 | 0.00035632
30 | 2813.7321 | 0.0301 | 0.00034129 | 0.02067 | 0.00032681 | 0.023 | 0.00031026 | 0.0003554
30 | 2820.984 | 0.0301 | 0.0003406 | 0.020671 | 0.00032612 | 0.023 | 0.00030889 | 0.00035449
30 | 2828.2359 | 0.0302 | 0.00033922 | 0.020673 | 0.00032474 | 0.0231 | 0.0003082 | 0.00035358
30 | 2835.4878 | 0.0302 | 0.00033853 | 0.020674 | 0.00032405 | 0.0231 | 0.00030751 | 0.00035267
30 | 2842.7397 | 0.0302 | 0.00033715 | 0.020676 | 0.00032336 | 0.0231 | 0.00030613 | 0.00035177
30 | 2849.9916 | 0.0302 | 0.00033646 | 0.020677 | 0.00032199 | 0.0231 | 0.00030544 | 0.00035088
30 | 2857.2434 | 0.0303 | 0.00033509 | 0.020678 | 0.0003213 | 0.0231 | 0.00030406 | 0.00034999
30 | 2864.4953 | 0.0303 | 0.0003344 | 0.02068 | 0.00032061 | 0.0231 | 0.00030337 | 0.0003491
30 | 2871.7472 | 0.0303 | 0.00033302 | 0.020681 | 0.00031992 | 0.0232 | 0.00030199 | 0.00034822
30 | 2878.9991 | 0.0304 | 0.00033233 | 0.020683 | 0.00031854 | 0.0232 | 0.0003013 | 0.00034734
30 | 2886.251 | 0.0304 | 0.00033095 | 0.020684 | 0.00031785 | 0.0232 | 0.00030061 | 0.00034647
30 | 2893.5029 | 0.0304 | 0.00033026 | 0.020685 | 0.00031716 | 0.0232 | 0.00029923 | 0.0003456
30 | 2900.7548 | 0.0304 | 0.00032888 | 0.020687 | 0.00031647 | 0.0232 | 0.00029854 | 0.00034474
30 | 2908.0066 | 0.0305 | 0.00032819 | 0.020688 | 0.00031509 | 0.0232 | 0.00029716 | 0.00034388
30 | 2915.2585 | 0.0305 | 0.00032681 | 0.020689 | 0.0003144 | 0.0233 | 0.00029647 | 0.00034302
30 | 2922.5104 | 0.0305 | 0.00032612 | 0.020691 | 0.00031371 | 0.0233 | 0.00029579 | 0.00034217
30 | 2929.7623 | 0.0305 | 0.00032474 | 0.020692 | 0.00031302 | 0.0233 | 0.00029441 | 0.00034132
30 | 2937.0142 | 0.0306 | 0.00032405 | 0.020694 | 0.00031233 | 0.0233 | 0.00029372 | 0.00034048
30 | 2944.2661 | 0.0306 | 0.00032267 | 0.020695 | 0.00031095 | 0.0233 | 0.00029303 | 0.00033964
30 | 2951.518 | 0.0306 | 0.00032199 | 0.020696 | 0.00031026 | 0.0233 | 0.00029165 | 0.00033881
30 | 2958.7699 | 0.0306 | 0.0003213 | 0.020698 | 0.00030957 | 0.0234 | 0.00029096 | 0.00033798
30 | 2966.0217 | 0.0307 | 0.00031992 | 0.020699 | 0.00030889 | 0.0234 | 0.00029027 | 0.00033715
30 | 2973.2736 | 0.0307 | 0.00031923 | 0.020701 | 0.0003082 | 0.0234 | 0.00028889 | 0.00033633
30 | 2980.5255 | 0.0307 | 0.00031785 | 0.020702 | 0.00030682 | 0.0234 | 0.0002882 | 0.00033551
30 | 2987.7774 | 0.0307 | 0.00031716 | 0.020703 | 0.00030613 | 0.0234 | 0.00028751 | 0.0003347
30 | 2995.0293 | 0.0308 | 0.00031647 | 0.020705 | 0.00030544 | 0.0235 | 0.00028613 | 0.00033389
30 | 3002.2812 | 0.0308 | 0.00031509 | 0.020706 | 0.00030475 | 0.0235 | 0.00028544 | 0.00033308
30 | 3009.5331 | 0.0308 | 0.0003144 | 0.020707 | 0.00030406 | 0.0235 | 0.00028475 | 0.00033228
30 | 3016.785 | 0.0309 | 0.00031302 | 0.020709 | 0.00030337 | 0.0235 | 0.00028337 | 0.00033148
30 | 3024.0368 | 0.0309 | 0.00031233 | 0.02071 | 0.00030199 | 0.0235 | 0.00028269 | 0.00033068
30 | 3031.2887 | 0.0309 | 0.00031164 | 0.020712 | 0.0003013 | 0.0235 | 0.000282 | 0.00032989
30 | 3038.5406 | 0.0309 | 0.00031026 | 0.020713 | 0.00030061 | 0.0236 | 0.00028131 | 0.00032911
30 | 3045.7925 | 0.031 | 0.00030957 | 0.020714 | 0.00029992 | 0.0236 | 0.00027993 | 0.00032832
30 | 3053.0444 | 0.031 | 0.00030889 | 0.020716 | 0.00029923 | 0.0236 | 0.00027924 | 0.00032754
30 | 3060.2963 | 0.031 | 0.00030751 | 0.020717 | 0.00029854 | 0.0236 | 0.00027855 | 0.00032677
30 | 3067.5482 | 0.031 | 0.00030682 | 0.020718 | 0.00029785 | 0.0236 | 0.00027786 | 0.00032599
30 | 3074.8 | 0.0311 | 0.00030613 | 0.02072 | 0.00029716 | 0.0236 | 0.00027648 | 0.00032522
30 | 3082.0519 | 0.0311 | 0.00030475 | 0.020721 | 0.00029579 | 0.0237 | 0.00027579 | 0.00032446
30 | 3089.3038 | 0.0311 | 0.00030406 | 0.020723 | 0.0002951 | 0.0237 | 0.0002751 | 0.0003237
30 | 3096.5557 | 0.0311 | 0.00030337 | 0.020724 | 0.00029441 | 0.0237 | 0.00027441 | 0.00032294
30 | 3103.8076 | 0.0312 | 0.00030199 | 0.020725 | 0.00029372 | 0.0237 | 0.00027372 | 0.00032218
30 | 3111.0595 | 0.0312 | 0.0003013 | 0.020727 | 0.00029303 | 0.0237 | 0.00027234 | 0.00032143
30 | 3118.3114 | 0.0312 | 0.00030061 | 0.020728 | 0.00029234 | 0.0237 | 0.00027165 | 0.00032069
30 | 3125.5633 | 0.0313 | 0.00029923 | 0.020729 | 0.00029165 | 0.0238 | 0.00027096 | 0.00031994
30 | 3132.8151 | 0.0313 | 0.00029854 | 0.020731 | 0.00029096 | 0.0238 | 0.00027027 | 0.0003192
30 | 3140.067 | 0.0313 | 0.00029785 | 0.020732 | 0.00029027 | 0.0238 | 0.00026959 | 0.00031846
30 | 3147.3189 | 0.0313 | 0.00029716 | 0.020733 | 0.00028958 | 0.0238 | 0.00026821 | 0.00031773
30 | 3154.5708 | 0.0314 | 0.00029579 | 0.020735 | 0.00028889 | 0.0238 | 0.00026752 | 0.000317
30 | 3161.8227 | 0.0314 | 0.0002951 | 0.020736 | 0.0002882 | 0.0239 | 0.00026683 | 0.00031627
30 | 3169.0746 | 0.0314 | 0.00029441 | 0.020738 | 0.00028751 | 0.0239 | 0.00026614 | 0.00031555
30 | 3176.3265 | 0.0314 | 0.00029372 | 0.020739 | 0.00028682 | 0.0239 | 0.00026545 | 0.00031483
30 | 3183.5783 | 0.0315 | 0.00029234 | 0.02074 | 0.00028613 | 0.0239 | 0.00026476 | 0.00031411
30 | 3190.8302 | 0.0315 | 0.00029165 | 0.020742 | 0.00028544 | 0.0239 | 0.00026338 | 0.0003134
30 | 3198.0821 | 0.0315 | 0.00029096 | 0.020743 | 0.00028475 | 0.0239 | 0.00026269 | 0.00031269
30 | 3205.334 | 0.0316 | 0.00029027 | 0.020744 | 0.00028406 | 0.024 | 0.000262 | 0.00031198
30 | 3212.5859 | 0.0316 | 0.00028889 | 0.020746 | 0.00028337 | 0.024 | 0.00026131 | 0.00031128
30 | 3219.8378 | 0.0316 | 0.0002882 | 0.020747 | 0.00028269 | 0.024 | 0.00026062 | 0.00031057
30 | 3227.0897 | 0.0316 | 0.00028751 | 0.020748 | 0.000282 | 0.024 | 0.00025993 | 0.00030988
30 | 3234.3416 | 0.0317 | 0.00028682 | 0.02075 | 0.00028131 | 0.024 | 0.00025924 | 0.00030918
30 | 3241.5934 | 0.0317 | 0.00028544 | 0.020751 | 0.00028062 | 0.024 | 0.00025786 | 0.00030849
30 | 3248.8453 | 0.0317 | 0.00028475 | 0.020752 | 0.00027993 | 0.0241 | 0.00025717 | 0.0003078
30 | 3256.0972 | 0.0317 | 0.00028406 | 0.020754 | 0.00027924 | 0.0241 | 0.00025648 | 0.00030712
30 | 3263.3491 | 0.0318 | 0.00028337 | 0.020755 | 0.00027855 | 0.0241 | 0.0002558 | 0.00030643
30 | 3270.601 | 0.0318 | 0.00028269 | 0.020757 | 0.00027786 | 0.0241 | 0.00025511 | 0.00030575
30 | 3277.8529 | 0.0318 | 0.00028131 | 0.020758 | 0.00027717 | 0.0241 | 0.00025442 | 0.00030508
30 | 3285.1048 | 0.0318 | 0.00028062 | 0.020759 | 0.00027648 | 0.0241 | 0.00025373 | 0.0003044
30 | 3292.3567 | 0.0319 | 0.00027993 | 0.020761 | 0.00027579 | 0.0242 | 0.00025304 | 0.00030373
30 | 3299.6085 | 0.0319 | 0.00027924 | 0.020762 | 0.0002751 | 0.0242 | 0.00025235 | 0.00030307
30 | 3306.8604 | 0.0319 | 0.00027855 | 0.020763 | 0.00027441 | 0.0242 | 0.00025166 | 0.0003024
30 | 3314.1123 | 0.032 | 0.00027786 | 0.020765 | 0.00027372 | 0.0242 | 0.00025097 | 0.00030174
30 | 3321.3642 | 0.032 | 0.00027648 | 0.020766 | 0.00027303 | 0.0242 | 0.00025028 | 0.00030108
30 | 3328.6161 | 0.032 | 0.00027579 | 0.020767 | 0.00027234 | 0.0243 | 0.0002489 | 0.00030043
30 | 3335.868 | 0.032 | 0.0002751 | 0.020769 | 0.00027165 | 0.0243 | 0.00024821 | 0.00029977
30 | 3343.1199 | 0.0321 | 0.00027441 | 0.02077 | 0.00027096 | 0.0243 | 0.00024752 | 0.00029912
30 | 3350.3717 | 0.0321 | 0.00027372 | 0.020771 | 0.00027027 | 0.0243 | 0.00024683 | 0.00029847
30 | 3357.6236 | 0.0321 | 0.00027303 | 0.020773 | 0.00026959 | 0.0243 | 0.00024614 | 0.00029783
30 | 3364.8755 | 0.0322 | 0.00027234 | 0.020774 | 0.0002689 | 0.0243 | 0.00024545 | 0.00029719
30 | 3372.1274 | 0.0322 | 0.00027165 | 0.020775 | 0.00026821 | 0.0244 | 0.00024476 | 0.00029655
30 | 3379.3793 | 0.0322 | 0.00027027 | 0.020777 | 0.00026821 | 0.0244 | 0.00024407 | 0.00029591
30 | 3386.6312 | 0.0322 | 0.00026959 | 0.020778 | 0.00026752 | 0.0244 | 0.00024338 | 0.00029528
30 | 3393.8831 | 0.0323 | 0.0002689 | 0.020779 | 0.00026683 | 0.0244 | 0.0002427 | 0.00029465
30 | 3401.135 | 0.0323 | 0.00026821 | 0.020781 | 0.00026614 | 0.0244 | 0.00024201 | 0.00029402
30 | 3408.3868 | 0.0323 | 0.00026752 | 0.020782 | 0.00026545 | 0.0244 | 0.00024132 | 0.00029339
30 | 3415.6387 | 0.0323 | 0.00026683 | 0.020783 | 0.00026476 | 0.0245 | 0.00024063 | 0.00029277
30 | 3422.8906 | 0.0324 | 0.00026614 | 0.020785 | 0.00026407 | 0.0245 | 0.00023994 | 0.00029215
30 | 3430.1425 | 0.0324 | 0.00026545 | 0.020786 | 0.00026338 | 0.0245 | 0.00023925 | 0.00029153
30 | 3437.3944 | 0.0324 | 0.00026476 | 0.020788 | 0.00026269 | 0.0245 | 0.00023856 | 0.00029092
30 | 3444.6463 | 0.0325 | 0.00026407 | 0.020789 | 0.000262 | 0.0245 | 0.00023787 | 0.00029031
30 | 3451.8982 | 0.0325 | 0.00026269 | 0.02079 | 0.000262 | 0.0246 | 0.00023718 | 0.0002897
30 | 3459.1501 | 0.0325 | 0.000262 | 0.020792 | 0.00026131 | 0.0246 | 0.00023649 | 0.00028909
30 | 3466.4019 | 0.0325 | 0.00026131 | 0.020793 | 0.00026062 | 0.0246 | 0.0002358 | 0.00028848
30 | 3473.6538 | 0.0326 | 0.00026062 | 0.020794 | 0.00025993 | 0.0246 | 0.00023511 | 0.00028788
30 | 3480.9057 | 0.0326 | 0.00025993 | 0.020796 | 0.00025924 | 0.0246 | 0.00023442 | 0.00028728
30 | 3488.1576 | 0.0326 | 0.00025924 | 0.020797 | 0.00025855 | 0.0246 | 0.00023373 | 0.00028668
30 | 3495.4095 | 0.0326 | 0.00025855 | 0.020798 | 0.00025786 | 0.0247 | 0.00023304 | 0.00028609
30 | 3502.6614 | 0.0327 | 0.00025786 | 0.0208 | 0.00025786 | 0.0247 | 0.00023235 | 0.0002855
30 | 3509.9133 | 0.0327 | 0.00025717 | 0.020801 | 0.00025717 | 0.0247 | 0.00023166 | 0.00028491
30 | 3517.1651 | 0.0327 | 0.00025648 | 0.020802 | 0.00025648 | 0.0247 | 0.00023166 | 0.00028432
30 | 3524.417 | 0.0328 | 0.0002558 | 0.020804 | 0.0002558 | 0.0247 | 0.00023097 | 0.00028373
30 | 3531.6689 | 0.0328 | 0.00025511 | 0.020805 | 0.00025511 | 0.0247 | 0.00023028 | 0.00028315
30 | 3538.9208 | 0.0328 | 0.00025442 | 0.020806 | 0.00025442 | 0.0248 | 0.00022939 | 0.00028257
30 | 3546.1727 | 0.0328 | 0.00025373 | 0.020808 | 0.00025442 | 0.0248 | 0.00022877 | 0.00028199
30 | 3553.4246 | 0.0329 | 0.00025304 | 0.020809 | 0.00025373 | 0.0248 | 0.00022815 | 0.00028142
30 | 3560.6765 | 0.0329 | 0.00025235 | 0.02081 | 0.00025304 | 0.0248 | 0.00022753 | 0.00028085
30 | 3567.9284 | 0.0329 | 0.00025166 | 0.020812 | 0.00025235 | 0.0248 | 0.00022684 | 0.00028027
30 | 3575.1802 | 0.033 | 0.00025097 | 0.020813 | 0.00025166 | 0.0249 | 0.00022622 | 0.00027971
30 | 3582.4321 | 0.033 | 0.00025028 | 0.020814 | 0.00025166 | 0.0249 | 0.0002256 | 0.00027914
30 | 3589.684 | 0.033 | 0.00024959 | 0.020815 | 0.00025097 | 0.0249 | 0.00022498 | 0.00027858
30 | 3596.9359 | 0.033 | 0.0002489 | 0.020817 | 0.00025028 | 0.0249 | 0.00022436 | 0.00027801
30 | 3604.1878 | 0.0331 | 0.00024821 | 0.020818 | 0.00024959 | 0.0249 | 0.00022373 | 0.00027746
30 | 3611.4397 | 0.0331 | 0.00024752 | 0.020819 | 0.0002489 | 0.0249 | 0.00022311 | 0.0002769
30 | 3618.6916 | 0.0331 | 0.00024683 | 0.020821 | 0.0002489 | 0.025 | 0.00022249 | 0.00027634
30 | 3625.9435 | 0.0332 | 0.00024614 | 0.020822 | 0.00024821 | 0.025 | 0.00022187 | 0.00027579
30 | 3633.1953 | 0.0332 | 0.00024545 | 0.020823 | 0.00024752 | 0.025 | 0.00022132 | 0.00027524
30 | 3640.4472 | 0.0332 | 0.00024476 | 0.020825 | 0.00024683 | 0.025 | 0.0002207 | 0.00027469
30 | 3647.6991 | 0.0332 | 0.00024407 | 0.020826 | 0.00024614 | 0.025 | 0.00022008 | 0.00027415
30 | 3654.951 | 0.0333 | 0.00024338 | 0.020827 | 0.00024614 | 0.025 | 0.00021946 | 0.0002736
30 | 3662.2029 | 0.0333 | 0.0002427 | 0.020829 | 0.00024545 | 0.0251 | 0.00021891 | 0.00027306
30 | 3669.4548 | 0.0333 | 0.00024201 | 0.02083 | 0.00024476 | 0.0251 | 0.00021829 | 0.00027252
30 | 3676.7067 | 0.0334 | 0.00024132 | 0.020831 | 0.00024407 | 0.0251 | 0.00021767 | 0.00027198
30 | 3683.9585 | 0.0334 | 0.00024063 | 0.020833 | 0.00024338 | 0.0251 | 0.00021712 | 0.00027145
30 | 3691.2104 | 0.0334 | 0.00023994 | 0.020834 | 0.00024338 | 0.0251 | 0.0002165 | 0.00027091
30 | 3698.4623 | 0.0334 | 0.00023925 | 0.020835 | 0.0002427 | 0.0252 | 0.00021594 | 0.00027038
30 | 3705.7142 | 0.0335 | 0.00023856 | 0.020837 | 0.00024201 | 0.0252 | 0.00021532 | 0.00026985
30 | 3712.9661 | 0.0335 | 0.00023787 | 0.020838 | 0.00024132 | 0.0252 | 0.00021477 | 0.00026933
30 | 3720.218 | 0.0335 | 0.00023718 | 0.020839 | 0.00024132 | 0.0252 | 0.00021415 | 0.0002688
30 | 3727.4699 | 0.0336 | 0.00023649 | 0.020841 | 0.00024063 | 0.0252 | 0.0002136 | 0.00026828
30 | 3734.7218 | 0.0336 | 0.00023649 | 0.020842 | 0.00023994 | 0.0252 | 0.00021305 | 0.00026776
30 | 3741.9736 | 0.0336 | 0.0002358 | 0.020843 | 0.00023925 | 0.0253 | 0.00021243 | 0.00026724
30 | 3749.2255 | 0.0336 | 0.00023511 | 0.020845 | 0.00023925 | 0.0253 | 0.00021188 | 0.00026672
30 | 3756.4774 | 0.0337 | 0.00023442 | 0.020846 | 0.00023856 | 0.0253 | 0.00021132 | 0.00026621
30 | 3763.7293 | 0.0337 | 0.00023373 | 0.020847 | 0.00023787 | 0.0253 | 0.00021077 | 0.00026569
30 | 3770.9812 | 0.0337 | 0.00023304 | 0.020848 | 0.00023787 | 0.0253 | 0.00021015 | 0.00026518
30 | 3778.2331 | 0.0337 | 0.00023235 | 0.02085 | 0.00023718 | 0.0254 | 0.0002096 | 0.00026467
30 | 3785.485 | 0.0338 | 0.00023166 | 0.020851 | 0.00023649 | 0.0254 | 0.00020905 | 0.00026417
30 | 3792.7368 | 0.0338 | 0.00023097 | 0.020852 | 0.0002358 | 0.0254 | 0.0002085 | 0.00026366
30 | 3799.9887 | 0.0338 | 0.00023028 | 0.020854 | 0.0002358 | 0.0254 | 0.00020795 | 0.00026316
30 | 3807.2406 | 0.0339 | 0.0002296 | 0.020855 | 0.00023511 | 0.0254 | 0.00020739 | 0.00026266
30 | 3814.4925 | 0.0339 | 0.00022925 | 0.020856 | 0.00023442 | 0.0254 | 0.00020684 | 0.00026216
30 | 3821.7444 | 0.0339 | 0.0002287 | 0.020858 | 0.00023442 | 0.0255 | 0.00020629 | 0.00026166
30 | 3828.9963 | 0.034 | 0.00022808 | 0.020859 | 0.00023373 | 0.0255 | 0.00020574 | 0.00026117
30 | 3836.2482 | 0.034 | 0.00022746 | 0.02086 | 0.00023304 | 0.0255 | 0.00020519 | 0.00026067
30 | 3843.5001 | 0.034 | 0.00022684 | 0.020862 | 0.00023235 | 0.0255 | 0.00020464 | 0.00026018
30 | 3850.7519 | 0.034 | 0.00022622 | 0.020863 | 0.00023235 | 0.0255 | 0.00020415 | 0.00025969
30 | 3858.0038 | 0.0341 | 0.00022567 | 0.020864 | 0.00023166 | 0.0255 | 0.0002036 | 0.0002592
30 | 3865.2557 | 0.0341 | 0.00022504 | 0.020865 | 0.00023097 | 0.0256 | 0.00020305 | 0.00025872
30 | 3872.5076 | 0.0341 | 0.00022442 | 0.020867 | 0.00023097 | 0.0256 | 0.0002025 | 0.00025823
30 | 3879.7595 | 0.0342 | 0.00022387 | 0.020868 | 0.00023028 | 0.0256 | 0.00020202 | 0.00025775
30 | 3887.0114 | 0.0342 | 0.00022325 | 0.020869 | 0.0002296 | 0.0256 | 0.00020146 | 0.00025727
30 | 3894.2633 | 0.0342 | 0.0002227 | 0.020871 | 0.0002296 | 0.0256 | 0.00020091 | 0.00025679
30 | 3901.5152 | 0.0342 | 0.00022208 | 0.020872 | 0.00022891 | 0.0257 | 0.00020043 | 0.00025631
30 | 3908.767 | 0.0343 | 0.00022153 | 0.020873 | 0.00022822 | 0.0257 | 0.00019988 | 0.00025584
30 | 3916.0189 | 0.0343 | 0.00022091 | 0.020875 | 0.00022822 | 0.0257 | 0.00019933 | 0.00025536
30 | 3923.2708 | 0.0343 | 0.00022036 | 0.020876 | 0.00022753 | 0.0257 | 0.00019884 | 0.00025489
30 | 3930.5227 | 0.0344 | 0.00021974 | 0.020877 | 0.00022684 | 0.0257 | 0.00019829 | 0.00025442
30 | 3937.7746 | 0.0344 | 0.00021918 | 0.020878 | 0.00022615 | 0.0257 | 0.00019781 | 0.00025395
30 | 3945.0265 | 0.0344 | 0.00021863 | 0.02088 | 0.00022615 | 0.0258 | 0.00019733 | 0.00025348
30 | 3952.2784 | 0.0344 | 0.00021801 | 0.020881 | 0.00022546 | 0.0258 | 0.00019678 | 0.00025302
30 | 3959.5302 | 0.0345 | 0.00021746 | 0.020882 | 0.00022546 | 0.0258 | 0.00019629 | 0.00025256
30 | 3966.7821 | 0.0345 | 0.00021691 | 0.020884 | 0.00022477 | 0.0258 | 0.00019574 | 0.00025209
30 | 3974.034 | 0.0345 | 0.00021629 | 0.020885 | 0.00022408 | 0.0258 | 0.00019526 | 0.00025163
30 | 3981.2859 | 0.0346 | 0.00021574 | 0.020886 | 0.00022408 | 0.0259 | 0.00019478 | 0.00025118
30 | 3988.5378 | 0.0346 | 0.00021519 | 0.020888 | 0.00022339 | 0.0259 | 0.00019429 | 0.00025072
30 | 3995.7897 | 0.0346 | 0.00021463 | 0.020889 | 0.0002227 | 0.0259 | 0.00019374 | 0.00025026
30 | 4003.0416 | 0.0346 | 0.00021408 | 0.02089 | 0.0002227 | 0.0259 | 0.00019326 | 0.00024981
30 | 4010.2935 | 0.0347 | 0.00021353 | 0.020891 | 0.00022201 | 0.0259 | 0.00019278 | 0.00024936
30 | 4017.5453 | 0.0347 | 0.00021298 | 0.020893 | 0.00022132 | 0.0259 | 0.00019229 | 0.00024891
30 | 4024.7972 | 0.0347 | 0.00021243 | 0.020894 | 0.00022132 | 0.026 | 0.00019181 | 0.00024846
30 | 4032.0491 | 0.0348 | 0.00021188 | 0.020895 | 0.00022063 | 0.026 | 0.00019133 | 0.00024801
30 | 4039.301 | 0.0348 | 0.00021132 | 0.020897 | 0.00021994 | 0.026 | 0.00019078 | 0.00024757
30 | 4046.5529 | 0.0348 | 0.00021077 | 0.020898 | 0.00021994 | 0.026 | 0.0001903 | 0.00024712
30 | 4053.8048 | 0.0348 | 0.00021022 | 0.020899 | 0.00021925 | 0.026 | 0.00018981 | 0.00024668
30 | 4061.0567 | 0.0349 | 0.00020967 | 0.0209 | 0.00021856 | 0.0261 | 0.00018933 | 0.00024624